## Coefficients
Standard Coefficients
COEFFICIENT TABLE
|  |  |  | E 1% | Estimated |  |  |  | Limit of | Limit of
Calibration Date = | 2023-06-01 |  | Pigment | λmax | Coefficient | Y intercept | λmax | Solvent | Quantification (ng) | Detection (ng) | Notes
Standard ID = | DHI Standards
|  |  | β,β Carotene | 2500 | 0.00023536 | 0 | 454 | acetone
|  |  | β,ε Carotene | 2700 | 0.00021792 | 0 | 448 | acetone
|  |  | β,ψ Carotene | 3185 | 0.00018474 | 0 | 459 | pet ether
E1% (1cm) = the extinction coefficient of a 1% solution in a 1 cm cuvette |  |  | ε,ε Carotene | 2900 | 0.0002029 | 0 | 440 | pet ether
|  |  | 19' but-Fuco | 1470 | 0.00013205 | 0 | 445 | acetone | 0.53769 | 0.16131
[pigment] (mg/L) = abs/(E1% * 0.0001) |  |  | 19' hex-Fuco | 1420 | 0.00014815 | 0 | 445 | acetone | 0.41342 | 0.12403
|  |  | Alloxanthin | 2500 | 7.7922e-05 | 0 | 454 | acetone | 0.39328 | 0.11798
E1% values obtained from Mantoura & Llewellyn 1983 |  |  | Antheraxanthin | 2350 | 0.00011915 | 0 | 446 | ethanol
| and Jeffrey et al. 1997 |  | Aphanizophyll |  | 0.00016859 | 0
|  |  | Astaxanthin | 2100 | 0.00010888 | 0 | 468 | hexane
|  |  | Bacteriochlorophyll a | 594 | 0.0094392 | 0 | 771 | acetone/methanol |  |  | Oelze 1985
Red coefficients were determined from standards |  |  | Canthaxanthin | 2200 | 0.00010393 | 0 | 466 | pet ether
All others were estimated using LC 10AD coefficients |  | Jun 23 | Chlorophyll a | 876.7 | 0.00040325 | 0 | 664.3 | 90%acetone | 1.3472 | 0.40415
|  | Dec 21 | Chlorophyll b | 513.6 | 0.00045591 | 0 | 646.8 | 90%acetone | 1.7054 | 0.51161
|  |  | Chlorophyll c1c2 | 426 | 7.4207e-05 | 0 | 630.7 | 90%acetone | Estimated | Estimated | Estimated
|  |  | Chlorophyll c3 | 3460 | 0.00014362 | 0 | 452.9 | 90%acetone | 0.48771 | 0.14631
|  |  | Chlorophyllide a | 1270 | 0.00018166 | 0 | 664 | 90%acetone
|  |  | Chlorophyllide b | 740.7 | 0.000296 | 0 | 645 | 90%acetone
|  |  | Crocoxanthin | 2500 | 8.1206e-05 | 0 | 443 | ethanol
|  |  | Diadinochrome | 2500 | 7.6501e-05 | 0 | 428 | acetone
|  |  | Diadinoxanthin | 2250 | 9.1104e-05 | 0 | 444.5 | methanol | 0.37673 | 0.11302
|  |  | Diatoxanthin | 2100 | 0.00012482 | 0 | 452 | acetone | 0.47555 | 0.14266
|  |  | Dinoxanthin | 2100 | 9.6674e-05 | 0 | 442 | acetone
|  |  | Divinyl Chlorophyll a | 876.7 | 0.00040626 | 0 | 664.3 | 90%acetone | 0.94742 | 0.28423 | Assume equal to Chla
|  |  | Divinyl Chlorophyll b | 513.6 | 0.00042689 | 0 | 646.8 | 90%acetone |  |  | Assume equal to Chlb
|  |  | Echinenone | 2158 | 0.00024321 | 0 | 458 | pet ether
|  | Dec 21 | Fucoxanthin | 1660 | 0.00012096 | 0 | 443 | acetone | 0.56342 | 0.16903
|  |  | Gyroxanthin-diester | 2620 | 0.00017865 | 0 | 445 | ethanol | 0.37706 | 0.11312
|  |  | Lutein | 2550 | 0.00016679 | 0 | 445 | ethanol | 0.36284 | 0.10885
|  |  | Lycopene | 3446 | 0.00056603 | 0 | 474 | acetone
|  |  | Mg DVP | 589 | 0.00037224 | 0 | 623 | methanol
|  |  | Monadoxanthin | 2500 | 9.7068e-05 | 0 | 446 | diethyl ether
|  |  | Myxoxanthophyll | 2160 | 0.00017631 | 0 | 478 | acetone | 1.0391 | 0.31172 | Hirschberg & Chamovitz 1994
|  |  | Neoxanthin | 2270 | 0.00015528 | 0 | 438 | ethanol | 0.31586 | 0.094758
|  |  | P-457 | 1640 | 0.0011893 | 0 | 457 | acetone
|  | Dec 21 | Peridinin | 1340 | 0.00017348 | 0 | 466 | acetone | 0.53469 | 0.16041
|  |  | Pheophorbide a | 742 | 0.00045341 | 0 | 667 | 90%acetone
|  |  | Pheophorbide b | 463.7 | 0.00047283 | 0 | 657 | 90%acetone
|  |  | Pheophytin a | 512 | 0.00065709 | 0 | 667 | 90%acetone
|  |  | Pheophytin b | 318 | 0.00068946 | 0 | 657 | 90%acetone
|  |  | Prasinoxanthin | 2500 | 0.00021476 | 0 | 446 | diethyl ether
|  |  | Pyropheophytin a | 602.9 | 0.00055802 | 0 | 667 | diethyl ether
|  |  | Siphonaxanthin | 2500 | 7.6501e-05 | 0 | 445 | acetone
|  |  | Siphonein | 1920 | 0.0010159 | 0 | 462 | ethanol
|  |  | Vaucheriaxanthin | 2500 | 9.7068e-05 | 0 | 444 | acetone
|  |  | Violaxanthin | 2400 | 0.00012073 | 0 | 442 | acetone | 0.43702 | 0.1311
|  | Dec 21 | Zeaxanthin | 2340 | 8.5608e-05 | 0 | 452 | acetone | 0.47691 | 0.14307

## Internal Standard
Internal Standard Calculation Sheet
| HPLC | Acetone | Carotenal | Total Extract | Volume of
| Injection | Volume | Volume | Volume | IP
| Volume | Added | Added | added to Vial | added to Vial
| (µL) | (µL) | (µL) | (µL) | (µL)
| 250 | 1000 | 100 | 400 | 100
Estimated Peak Area for Carotenal Standard Added |  |  |  | 109969.0909
Note on D5: J Pinckney: Volume of 90% acetone used for the extraction…amount added to the tube and filter

## Peak Areas
Sample ID: | Bioassay 2
PEAK AREAS
[5 empty] | Sample | HPLC | Acetone + Carotenal | Extract | Ammonium | Int Std
[5 empty] | Filtered | Injection | Added | Volume | Acetate | Peak
|  |  |  | Special | Volume | Volume | Volume | in Vial | Ratio | Area
Number | Date | Station | Other | Notes | (Liters) | (µL) | (ml) | (µL) |  |  | Chl-ide a | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | βε Carotene | ββ Carotene
Blank Line
T0 A | 2023-06-06 | Clambank |  |  | 0.15 | 250 | 1.1 | 400 | 1.25 | 68096 | 0 | 0 | 99408 | 5916 | 0 | 251781 | 0 | 10335 | 11124 | 16635 | 68982 | 12495 | 17219 | 5842 | 6962 | 28074 | 0 | 12122 | 7136 | 203498 | 6948 | 0 | 27506
T0 B | 2023-06-06 | Clambank |  |  | 0.15 | 250 | 1.1 | 400 | 1.25 | 71947 | 0 | 1948 | 83301 | 11023 | 0 | 273363 | 16011 | 10211 | 12589 | 16876 | 72571 | 12159 | 18890 | 6524 | 7394 | 29082 | 3037 | 12611 | 5523 | 202650 | 6478 | 0 | 29822
T0 C | 2023-06-06 | Clambank |  |  | 0.15 | 250 | 1.1 | 400 | 1.25 | 68232 | 0 | 1633 | 82479 | 10264 | 0 | 263426 | 12891 | 9353 | 12165 | 16438 | 71304 | 14035 | 18970 | 7925 | 7422 | 32053 | 3219 | 11579 | 4856 | 189662 | 6853 | 2157 | 28256
T0 D | 2023-06-06 | Clambank |  |  | 0.15 | 250 | 1.1 | 400 | 1.25 | 64006 | 0 | 1657 | 82543 | 9659 | 0 | 250876 | 13556 | 9387 | 11212 | 15108 | 66386 | 11590 | 16902 | 6967 | 6718 | 30081 | 2831 | 11497 | 4414 | 178582 | 6641 | 0 | 24972
T0 E | 2023-06-06 | Clambank |  |  | 0.15 | 250 | 1.1 | 400 | 1.25 | 73209 | 0 | 4036 | 83197 | 10377 | 0 | 279186 | 23677 | 0 | 13193 | 17264 | 75705 | 14950 | 20884 | 8521 | 8322 | 30828 | 2861 | 12579 | 5743 | 211918 | 7211 | 0 | 29405
Control A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 73812 | 0 | 3777 | 43676 | 3765 | 0 | 149321 | 12051 | 0 | 0 | 6986 | 58593 | 8767 | 10030 | 9666 | 4046 | 12322 | 0 | 4728 | 2682 | 100093 | 3637 | 0 | 10374
Control B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 83363 | 0 | 1481 | 33425 | 0 | 0 | 145621 | 9845 | 0 | 0 | 7221 | 56806 | 8785 | 10617 | 6620 | 5017 | 19910 | 0 | 4921 | 3551 | 95718 | 4616 | 0 | 10662
Control C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 75783 | 0 | 2082 | 34703 | 0 | 0 | 148009 | 19624 | 0 | 0 | 6361 | 60072 | 9292 | 18765 | 8485 | 4443 | 16085 | 0 | 3364 | 2610 | 95799 | 3902 | 0 | 13429
Control D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 84015 | 0 | 0 | 29794 | 0 | 0 | 115157 | 13950 | 0 | 0 | 5201 | 42979 | 3662 | 14681 | 6081 | 4076 | 14105 | 0 | 4187 | 3010 | 85031 | 3467 | 0 | 8595
Control E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 79912 | 0 | 1539 | 34595 | 0 | 0 | 138003 | 13136 | 0 | 0 | 5703 | 64773 | 3408 | 13112 | 8414 | 3971 | 15205 | 0 | 3059 | 2555 | 92021 | 4007 | 0 | 9110
DIN A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 78509 | 0 | 65042 | 437411 | 0 | 0 | 1046206 | 59106 | 13594 | 0 | 51420 | 294405 | 36781 | 55814 | 46415 | 18716 | 25872 | 5986 | 18203 | 12853 | 692052 | 25451 | 5701 | 77698
DIN B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 76402 | 0 | 65968 | 427895 | 0 | 0 | 1050487 | 42947 | 5371 | 0 | 52206 | 265410 | 26176 | 48982 | 54099 | 16139 | 22951 | 10460 | 21609 | 18508 | 734433 | 29227 | 0 | 79616
DIN C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 83309 | 0 | 77703 | 493498 | 0 | 0 | 1206505 | 65041 | 15945 | 0 | 49655 | 312869 | 39406 | 63718 | 55818 | 20622 | 28105 | 11423 | 23220 | 17154 | 787035 | 31985 | 6145 | 80865
DIN D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 81856 | 0 | 63965 | 415067 | 0 | 0 | 1087977 | 43490 | 5418 | 0 | 32472 | 290201 | 27004 | 53532 | 61011 | 17174 | 24046 | 0 | 15994 | 16035 | 736482 | 28723 | 5523 | 78795
DIN E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 79286 | 0 | 60806 | 479457 | 0 | 0 | 1090680 | 62380 | 16729 | 0 | 45409 | 298924 | 39878 | 61636 | 50356 | 19841 | 26516 | 0 | 14566 | 17141 | 685177 | 28686 | 4781 | 65229
LP A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 84959 | 0 | 4147 | 81858 | 0 | 0 | 304430 | 27036 | 0 | 0 | 10952 | 101804 | 13783 | 23588 | 14187 | 6492 | 18767 | 0 | 5248 | 3527 | 199592 | 8888 | 0 | 19701
LP B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 81251 | 0 | 4089 | 52352 | 0 | 0 | 208458 | 25092 | 0 | 0 | 7019 | 73626 | 6374 | 23581 | 10158 | 5238 | 16750 | 0 | 3727 | 2815 | 132968 | 6056 | 0 | 9691
LP C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 80220 | 0 | 2971 | 58550 | 0 | 0 | 226664 | 30423 | 0 | 0 | 8785 | 78986 | 13291 | 28221 | 10505 | 6289 | 18216 | 0 | 4471 | 2125 | 139125 | 6736 | 0 | 12605
LP D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 81422 | 0 | 0 | 53555 | 0 | 0 | 206655 | 20465 | 0 | 0 | 7699 | 74825 | 12298 | 12044 | 10479 | 5432 | 17888 | 0 | 4619 | 4242 | 135907 | 6161 | 0 | 10468
LP E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 84211 | 0 | 2480 | 54547 | 4629 | 0 | 186531 | 18648 | 0 | 0 | 7847 | 71332 | 10662 | 20089 | 10304 | 5459 | 17113 | 0 | 5034 | 3221 | 127014 | 6192 | 0 | 13583
HP A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 81270 | 0 | 0 | 50471 | 0 | 0 | 202729 | 25107 | 0 | 0 | 8408 | 72901 | 12849 | 10795 | 10046 | 5491 | 16836 | 0 | 4156 | 3431 | 135436 | 7148 | 0 | 16421
HP B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 81899 | 0 | 3317 | 59754 | 0 | 0 | 237075 | 25805 | 0 | 0 | 10946 | 83748 | 15454 | 24078 | 10184 | 6280 | 20224 | 0 | 4646 | 4226 | 154397 | 8359 | 0 | 12823
HP C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 82608 | 0 | 3173 | 51796 | 0 | 0 | 208669 | 23347 | 0 | 0 | 7632 | 71684 | 10803 | 9953 | 11306 | 4845 | 17240 | 0 | 4999 | 3110 | 129322 | 6729 | 0 | 9621
HP D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 85098 | 0 | 2402 | 48745 | 0 | 0 | 186871 | 23723 | 0 | 0 | 7908 | 67913 | 10869 | 10496 | 9803 | 4756 | 17158 | 0 | 5289 | 3269 | 127077 | 6472 | 0 | 10909
HP E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 85088 | 0 | 3252 | 50321 | 781 | 0 | 210733 | 25844 | 0 | 0 | 8208 | 75757 | 11951 | 25120 | 11027 | 5314 | 18751 | 0 | 4288 | 4482 | 133692 | 7235 | 0 | 15237
DIN + LP A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 85178 | 0 | 76457 | 823508 | 3443 | 0 | 1982697 | 0 | 10543 | 0 | 54273 | 386507 | 12059 | 66312 | 143131 | 25565 | 30531 | 19278 | 35927 | 33416 | 1235136 | 67198 | 13729 | 137548
DIN + LP B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 85348 | 0 | 112643 | 972056 | 1015 | 0 | 2216168 | 0 | 32588 | 0 | 77122 | 390478 | 20191 | 67428 | 148862 | 29652 | 37213 | 19191 | 38085 | 51455 | 1326395 | 72597 | 8163 | 140979
DIN + LP C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 77359 | 0 | 98422 | 952913 | 2023 | 0 | 2212863 | 0 | 11649 | 0 | 62600 | 402278 | 12587 | 66290 | 147573 | 24829 | 36323 | 18461 | 38466 | 42907 | 1321758 | 76466 | 6563 | 117328
DIN + LP D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 83914 | 118545 | 152534 | 1168009 | 1451 | 0 | 2809316 | 0 | 30590 | 0 | 89173 | 507942 | 18363 | 74830 | 188478 | 27280 | 33634 | 14053 | 40160 | 42095 | 1673976 | 95390 | 12319 | 150699
DIN + LP E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 86051 | 115763 | 108870 | 1058529 | 1331 | 0 | 2447489 | 0 | 26204 | 0 | 84906 | 450437 | 17759 | 72146 | 199784 | 26185 | 37127 | 14220 | 37753 | 43382 | 1430551 | 81464 | 4853 | 140526
DIN + HP A | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 84594 | 0 | 148428 | 1067023 | 2824 | 0 | 2460869 | 0 | 29621 | 0 | 89080 | 464726 | 18433 | 66015 | 181724 | 26225 | 32068 | 13225 | 38193 | 39035 | 1453018 | 80545 | 11934 | 148478
DIN + HP B | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 85665 | 106245 | 136652 | 1059729 | 2161 | 0 | 2516337 | 0 | 32517 | 0 | 91047 | 466395 | 20077 | 81669 | 189470 | 28438 | 31994 | 13210 | 42224 | 36375 | 1528244 | 86620 | 16010 | 158014
DIN + HP C | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 86528 | 0 | 136248 | 1091529 | 1145 | 0 | 2631909 | 0 | 29150 | 0 | 96511 | 471971 | 19131 | 74500 | 186081 | 28906 | 34891 | 14511 | 38466 | 41267 | 1568983 | 89700 | 7173 | 137280
DIN + HP D | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 84713 | 130540 | 173532 | 1101055 | 3082 | 0 | 2440753 | 0 | 33323 | 0 | 101024 | 447143 | 24281 | 71846 | 202742 | 35317 | 39147 | 26311 | 38722 | 36751 | 1409427 | 82536 | 6685 | 130999
DIN + HP E | 2023-06-08 | Clambank |  |  | 0.1 | 250 | 1.1 | 400 | 1.25 | 83916 | 120331 | 128827 | 1072000 | 2230 | 0 | 2278041 | 0 | 32405 | 0 | 120766 | 446424 | 22769 | 71486 | 176719 | 33346 | 35977 | 25130 | 39031 | 44848 | 1449898 | 85499 | 7213 | 152733
79316
85026
82675
80222
128347
85170
88764
86168
89030
90284
86700
86693
87651
83178
79605
80838
87361
98369
105430
98249
Note on F6: The total volume of water filtered through the filter(s) in the microfuge tube
Note on H6: Volume of acetone added to the microfuge tube for extraction + volume of carotenal added
Note on I6: Volume of extract placed in the HPLC sample vial
Note on J9: Acetone + AmAc (ml) / Acetone (ml)

## ug_liter
HPLC PHOTOPIGMENT ANALYSIS FACILITY
BARUCH INSTITUTE FOR MARINE AND COASTAL SCIENCES
UNIVERSITY OF SOUTH CAROLINA | [8 empty] | Protocols and Methods Link
COLUMBIA, SC 29208 USA | [8 empty] | Technical Description of Methods Link
PINCKNEY@SC.EDU |  | (803) 777.7133
| Sample ID: | Bioassay 2
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
0 Concentrations Indicate "Below Limits of Detection"
[5 empty] | Sample | Volume | Internal Std
Number | Date | Station | Other | Notes | Volume (L) | Constants | Constant | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | α Carotene | β Carotene | Chl-ide a | Total Chl a | ALL Chl a
T0 A | 2023-06-06 | Clambank | 0 | 0 | 0.15 | 0.064597 | 1.6149 | 0 | 0.47652 | 0.066297 | 0 | 1.9673 | 0 | 0.10366 | 0.15432 | 0.12973 | 0.40596 | 0.096172 | 0.086672 | 0.047105 | 0.07501 | 0.15525 | 0 | 0.357 | 0.18588 | 5.3008 | 0.18099 | 0 | 0.41819 | 0 | 5.3008 | 5.6677
T0 B | 2023-06-06 | Clambank | 0 | 0 | 0.15 | 0.061139 | 1.5285 | 0.017105 | 0.37793 | 0.11692 | 0 | 2.0216 | 0.14503 | 0.096938 | 0.1653 | 0.12457 | 0.40422 | 0.088577 | 0.089994 | 0.049789 | 0.0754 | 0.15221 | 0.033171 | 0.35152 | 0.13617 | 4.9962 | 0.15971 | 0 | 0.42913 | 0 | 4.9962 | 5.2921
T0 C | 2023-06-06 | Clambank | 0 | 0 | 0.15 | 0.064468 | 1.6117 | 0.01512 | 0.39458 | 0.11479 | 0 | 2.0542 | 0.12312 | 0.093627 | 0.16843 | 0.12794 | 0.41879 | 0.10781 | 0.095295 | 0.063773 | 0.079806 | 0.1769 | 0.037073 | 0.34032 | 0.12624 | 4.9306 | 0.17815 | 0.030304 | 0.42874 | 0 | 4.9306 | 5.235
T0 D | 2023-06-06 | Clambank | 0 | 0 | 0.15 | 0.068724 | 1.7181 | 0.016355 | 0.42096 | 0.11516 | 0 | 2.0855 | 0.13802 | 0.10017 | 0.16548 | 0.12535 | 0.41565 | 0.094907 | 0.090513 | 0.059766 | 0.077006 | 0.17698 | 0.034758 | 0.36022 | 0.12233 | 4.9491 | 0.18404 | 0 | 0.40393 | 0 | 4.9491 | 5.2554
T0 E | 2023-06-06 | Clambank | 0 | 0 | 0.15 | 0.060085 | 1.5021 | 0.034829 | 0.37095 | 0.10817 | 0 | 2.0291 | 0.21077 | 0 | 0.17024 | 0.12523 | 0.41441 | 0.10703 | 0.097778 | 0.063908 | 0.0834 | 0.15857 | 0.03071 | 0.34458 | 0.13915 | 5.1346 | 0.17472 | 0 | 0.41584 | 0 | 5.1346 | 5.4485
Control A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.089391 | 1.4899 | 0.048491 | 0.28972 | 0.058387 | 0 | 1.6146 | 0.1596 | 0 | 0 | 0.075395 | 0.47717 | 0.093379 | 0.069865 | 0.10785 | 0.060325 | 0.094295 | 0 | 0.19269 | 0.096678 | 3.6081 | 0.1311 | 0 | 0.21826 | 0 | 3.6081 | 3.8358
Control B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.07915 | 1.3192 | 0.016836 | 0.19632 | 0 | 0 | 1.3942 | 0.11544 | 0 | 0 | 0.069002 | 0.40962 | 0.08285 | 0.06548 | 0.065404 | 0.066232 | 0.13491 | 0 | 0.17757 | 0.11334 | 3.055 | 0.14733 | 0 | 0.19862 | 0 | 3.055 | 3.3157
Control C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.087066 | 1.4511 | 0.026035 | 0.22421 | 0 | 0 | 1.5588 | 0.25313 | 0 | 0 | 0.066864 | 0.4765 | 0.096397 | 0.12731 | 0.092215 | 0.064521 | 0.11989 | 0 | 0.13353 | 0.091636 | 3.3635 | 0.137 | 0 | 0.27519 | 0 | 3.3635 | 3.5921
Control D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.078535 | 1.3089 | 0 | 0.17364 | 0 | 0 | 1.094 | 0.16231 | 0 | 0 | 0.049314 | 0.30751 | 0.034268 | 0.089843 | 0.059613 | 0.053392 | 0.094831 | 0 | 0.14992 | 0.095325 | 2.6929 | 0.1098 | 0 | 0.15887 | 0 | 2.6929 | 2.898
Control E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.082568 | 1.3761 | 0.01825 | 0.21197 | 0 | 0 | 1.3783 | 0.16069 | 0 | 0 | 0.05685 | 0.48724 | 0.033528 | 0.084361 | 0.086718 | 0.054687 | 0.10748 | 0 | 0.11515 | 0.08507 | 3.0639 | 0.13341 | 0 | 0.17704 | 0 | 3.0639 | 3.2824
DIN A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.084043 | 1.4007 | 0.78509 | 2.728 | 0 | 0 | 10.6357 | 0.73594 | 0.1774 | 0 | 0.52174 | 2.2542 | 0.36832 | 0.36552 | 0.48692 | 0.26236 | 0.18614 | 0.089875 | 0.69747 | 0.43559 | 23.4539 | 0.86254 | 0.10441 | 1.5369 | 0 | 23.4539 | 24.7521
DIN B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.086361 | 1.4393 | 0.81823 | 2.7422 | 0 | 0 | 10.9737 | 0.54949 | 0.072025 | 0 | 0.54432 | 2.0882 | 0.26935 | 0.32962 | 0.58318 | 0.23247 | 0.16968 | 0.16138 | 0.85081 | 0.64454 | 25.5767 | 1.0178 | 0 | 1.6183 | 0 | 25.5767 | 27.239
DIN C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.079201 | 1.32 | 0.88387 | 2.9004 | 0 | 0 | 11.5586 | 0.76318 | 0.19609 | 0 | 0.4748 | 2.2575 | 0.37187 | 0.39324 | 0.55183 | 0.27242 | 0.19056 | 0.16163 | 0.83844 | 0.54786 | 25.1361 | 1.0215 | 0.10606 | 1.5074 | 0 | 25.1361 | 26.7055
DIN D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.080607 | 1.3434 | 0.74052 | 2.4828 | 0 | 0 | 10.6081 | 0.51936 | 0.067814 | 0 | 0.31601 | 2.1311 | 0.25936 | 0.33624 | 0.61387 | 0.2309 | 0.16593 | 0 | 0.58777 | 0.52121 | 23.9391 | 0.93363 | 0.097017 | 1.4949 | 0 | 23.9391 | 25.3939
DIN E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.08322 | 1.387 | 0.72677 | 2.9609 | 0 | 0 | 10.9791 | 0.76909 | 0.21617 | 0 | 0.45623 | 2.2663 | 0.39542 | 0.39969 | 0.52309 | 0.2754 | 0.18891 | 0 | 0.55264 | 0.57522 | 22.9934 | 0.96265 | 0.086705 | 1.2776 | 0 | 22.9934 | 24.5312
LP A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077663 | 1.2944 | 0.046256 | 0.47176 | 0 | 0 | 2.8599 | 0.31107 | 0 | 0 | 0.10269 | 0.7203 | 0.12754 | 0.14275 | 0.13753 | 0.084094 | 0.12477 | 0 | 0.18582 | 0.11046 | 6.2507 | 0.27835 | 0 | 0.36011 | 0 | 6.2507 | 6.6395
LP B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.081207 | 1.3534 | 0.047691 | 0.31548 | 0 | 0 | 2.0477 | 0.30188 | 0 | 0 | 0.068815 | 0.54471 | 0.061675 | 0.14922 | 0.10297 | 0.070947 | 0.11644 | 0 | 0.13798 | 0.092182 | 4.3543 | 0.19831 | 0 | 0.18522 | 0 | 4.3543 | 4.6448
LP C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.082251 | 1.3708 | 0.035097 | 0.35737 | 0 | 0 | 2.2551 | 0.37072 | 0 | 0 | 0.087236 | 0.59187 | 0.13026 | 0.18087 | 0.10785 | 0.086277 | 0.12826 | 0 | 0.16766 | 0.070481 | 4.6144 | 0.22342 | 0 | 0.24402 | 0 | 4.6144 | 4.9083
LP D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.081036 | 1.3506 | 0 | 0.32205 | 0 | 0 | 2.0257 | 0.2457 | 0 | 0 | 0.075324 | 0.55241 | 0.11875 | 0.076052 | 0.106 | 0.07342 | 0.12409 | 0 | 0.17065 | 0.13862 | 4.4412 | 0.20133 | 0 | 0.19966 | 0 | 4.4412 | 4.7811
LP E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.078353 | 1.3059 | 0.027908 | 0.31715 | 0.062922 | 0 | 1.7679 | 0.21647 | 0 | 0 | 0.074229 | 0.50918 | 0.09954 | 0.12265 | 0.10078 | 0.071341 | 0.11479 | 0 | 0.17982 | 0.10177 | 4.0131 | 0.19564 | 0 | 0.25049 | 0 | 4.0131 | 4.3105
HP A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.081188 | 1.3531 | 0 | 0.30407 | 0 | 0 | 1.9909 | 0.30199 | 0 | 0 | 0.082414 | 0.53922 | 0.1243 | 0.068293 | 0.10181 | 0.074356 | 0.11702 | 0 | 0.15383 | 0.11233 | 4.434 | 0.23402 | 0 | 0.31378 | 0 | 4.434 | 4.7804
HP B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.080564 | 1.3427 | 0.038381 | 0.35724 | 0 | 0 | 2.3103 | 0.308 | 0 | 0 | 0.10647 | 0.61469 | 0.14835 | 0.15116 | 0.10241 | 0.084387 | 0.13948 | 0 | 0.17065 | 0.13729 | 5.016 | 0.27156 | 0 | 0.24315 | 0 | 5.016 | 5.4248
HP C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.079873 | 1.3312 | 0.036399 | 0.307 | 0 | 0 | 2.0161 | 0.27627 | 0 | 0 | 0.073596 | 0.52163 | 0.10281 | 0.061946 | 0.11272 | 0.064546 | 0.11788 | 0 | 0.18204 | 0.10017 | 4.1653 | 0.21673 | 0 | 0.18087 | 0 | 4.1653 | 4.4822
HP D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077536 | 1.2923 | 0.026748 | 0.28047 | 0 | 0 | 1.7526 | 0.27251 | 0 | 0 | 0.074026 | 0.47973 | 0.10041 | 0.063414 | 0.094877 | 0.061506 | 0.11389 | 0 | 0.18696 | 0.10221 | 3.9732 | 0.20236 | 0 | 0.19908 | 0 | 3.9732 | 4.2778
HP E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077545 | 1.2924 | 0.036218 | 0.28957 | 0.010507 | 0 | 1.9767 | 0.29691 | 0 | 0 | 0.076844 | 0.5352 | 0.11042 | 0.15179 | 0.10674 | 0.068731 | 0.12448 | 0 | 0.1516 | 0.14015 | 4.1805 | 0.22624 | 0 | 0.27809 | 0 | 4.1805 | 4.5469
DIN + LP A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077463 | 1.2911 | 0.85062 | 4.7338 | 0.046269 | 0 | 18.5779 | 0 | 0.12681 | 0 | 0.50757 | 2.7277 | 0.1113 | 0.40027 | 1.384 | 0.3303 | 0.20246 | 0.26678 | 1.2688 | 1.0438 | 38.5819 | 2.0991 | 0.23176 | 2.5078 | 0 | 38.5819 | 41.7248
DIN + LP B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077309 | 1.2885 | 1.2507 | 5.5766 | 0.013613 | 0 | 20.7241 | 0 | 0.3912 | 0 | 0.71982 | 2.7502 | 0.18599 | 0.40619 | 1.4365 | 0.38235 | 0.24628 | 0.26505 | 1.3423 | 1.6041 | 41.35 | 2.2632 | 0.13752 | 2.5652 | 0 | 41.35 | 45.2173
DIN + LP C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.085293 | 1.4215 | 1.2057 | 6.0313 | 0.029934 | 0 | 22.8303 | 0 | 0.15428 | 0 | 0.64462 | 3.1259 | 0.12792 | 0.44058 | 1.5711 | 0.35322 | 0.26522 | 0.2813 | 1.4958 | 1.4758 | 45.4608 | 2.63 | 0.12199 | 2.3553 | 0 | 45.4608 | 49.5666
DIN + LP D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.07863 | 1.3105 | 1.7226 | 6.8152 | 0.019793 | 0 | 26.7198 | 0 | 0.37349 | 0 | 0.84652 | 3.6386 | 0.17204 | 0.45848 | 1.8499 | 0.35777 | 0.2264 | 0.1974 | 1.4397 | 1.3347 | 53.0776 | 3.0246 | 0.21109 | 2.7889 | 1.6933 | 54.7709 | 59.1302
DIN + LP E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.076677 | 1.278 | 1.1989 | 6.023 | 0.017705 | 0 | 22.7003 | 0 | 0.31199 | 0 | 0.786 | 3.1466 | 0.16225 | 0.43106 | 1.9122 | 0.33488 | 0.24371 | 0.19479 | 1.3198 | 1.3414 | 44.2327 | 2.5189 | 0.081092 | 2.5361 | 1.6125 | 45.8452 | 49.7055
DIN + HP A | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077998 | 1.3 | 1.6627 | 6.1759 | 0.038213 | 0 | 23.2175 | 0 | 0.35875 | 0 | 0.83884 | 3.3023 | 0.17131 | 0.40122 | 1.7693 | 0.34117 | 0.21412 | 0.18428 | 1.3581 | 1.2278 | 45.7012 | 2.5334 | 0.20285 | 2.7257 | 0 | 45.7012 | 49.4623
DIN + HP B | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077023 | 1.2837 | 1.5117 | 6.057 | 0.028876 | 0 | 23.444 | 0 | 0.3889 | 0 | 0.84664 | 3.2727 | 0.18426 | 0.49016 | 1.8216 | 0.36534 | 0.21096 | 0.18177 | 1.4827 | 1.1298 | 47.4663 | 2.6904 | 0.26873 | 2.8645 | 1.4866 | 48.9529 | 52.7731
DIN + HP C | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.076254 | 1.2709 | 1.4922 | 6.1766 | 0.015147 | 0 | 24.2762 | 0 | 0.34515 | 0 | 0.8885 | 3.2788 | 0.17382 | 0.44267 | 1.7712 | 0.36764 | 0.22777 | 0.19768 | 1.3373 | 1.2689 | 48.2456 | 2.7582 | 0.1192 | 2.4638 | 0 | 48.2456 | 52.2728
DIN + HP D | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.077888 | 1.2981 | 1.9412 | 6.364 | 0.041645 | 0 | 22.9954 | 0 | 0.40302 | 0 | 0.94998 | 3.1729 | 0.22534 | 0.43605 | 1.9711 | 0.45881 | 0.26103 | 0.36611 | 1.375 | 1.1543 | 44.2679 | 2.5923 | 0.11347 | 2.4015 | 1.8471 | 46.115 | 49.8616
DIN + HP E | 2023-06-08 | Clambank | 0 | 0 | 0.1 | 0.078628 | 1.3105 | 1.4548 | 6.2549 | 0.030419 | 0 | 21.6663 | 0 | 0.39564 | 0 | 1.1464 | 3.1979 | 0.21332 | 0.43799 | 1.7344 | 0.43732 | 0.24217 | 0.353 | 1.3992 | 1.422 | 45.9715 | 2.7109 | 0.12359 | 2.8265 | 1.7188 | 47.6903 | 51.8232
Note on L9: (peak area * coeff / inject volume) * (extract volume/ sample volume) = ug/liter
Note on H13: Jay Pinckney: >1 = Dilution (higher acetone volume added or lower volume of carotenal added) <1 = Evaporation (lower acetone volume added or higher volume of carotenal added)
Note on I13: Chlorophyll c3
Note on J13: Chlorophyll c1c2
Note on K13: Peridinin
Note on L13: 19' Butanoyloxyfucoxanthin
Note on M13: Fucoxanthin
Note on N13: 19' Hexanoyloxyfucoxanthin
Note on O13: 9' cis-Neoxanthin
Note on P13: Prasinoxanthin
Note on Q13: Violaxanthin
Note on R13: Diadinoxanthin
Note on S13: Antheraxanthin
Note on T13: Alloxanthin
Note on U13: Diatoxanthin
Note on W13: Zeaxanthin
Note on X13: Gyroxanthin-diester
Note on Y13: Chlorophyll b
Note on Z13: Chlorophyll a Allomer
Note on AA13: Chlorophyll a + Divinyl Chl a
Note on AB13: Chlorophyll a'
Note on AF13: Chlorophyllide a
Note on AG13: Chl a + Divinyl Chl a + Chlide a
Note on AH13: Total Chl a + Chl a isomers

## Detection Limits
Effective Limits of Detection and Quantification
|  | LODeff | Effective Limit of Detection
|  | LOQeff | Effective Limit of Quantification
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
Sample
| Number | Chl c3 |  | Perid |  | 19'ButFuc |  | Fuco |  | 19'HexFuc |  | Neo |  | Viola |  | Diad |  | Allox |  | Diat |  | Lutein |  | Zeax |  | Gyro |  | Chl b |  | Chl a
|  | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff
| T0 A | 0.004682 | 0.015607 | 0.0051331 | 0.01711 | 0.0051619 | 0.017206 | 0.0054088 | 0.018029 | 0.0039689 | 0.01323 | 0.0030323 | 0.010108 | 0.0041954 | 0.013985 | 0.0036166 | 0.012055 | 0.0037754 | 0.012585 | 0.0045653 | 0.015218 | 0.0034833 | 0.011611 | 0.0045783 | 0.015261 | 0.0036198 | 0.012066 | 0.016371 | 0.054572 | 0.012933 | 0.04311