## Coefficients
Standard Coefficients
COEFFICIENT TABLE
|  |  |  | E 1% | Estimated |  |  |  | Limit of | Limit of
Calibration Date = | 2023-07-27 |  | Pigment | λmax | Coefficient | Y intercept | λmax | Solvent | Quantification (ng) | Detection (ng) | Notes
Standard ID = | DHI Standards
|  |  | β,β Carotene | 2500 | 0.00023536 | 0 | 454 | acetone
|  |  | β,ε Carotene | 2700 | 0.00021792 | 0 | 448 | acetone
|  |  | β,ψ Carotene | 3185 | 0.00018474 | 0 | 459 | pet ether
E1% (1cm) = the extinction coefficient of a 1% solution in a 1 cm cuvette |  |  | ε,ε Carotene | 2900 | 0.0002029 | 0 | 440 | pet ether
|  |  | 19' but-Fuco | 1470 | 0.00013205 | 0 | 445 | acetone | 0.53769 | 0.16131
[pigment] (mg/L) = abs/(E1% * 0.0001) |  |  | 19' hex-Fuco | 1420 | 0.00014815 | 0 | 445 | acetone | 0.41342 | 0.12403
|  |  | Alloxanthin | 2500 | 7.7922e-05 | 0 | 454 | acetone | 0.39328 | 0.11798
E1% values obtained from Mantoura & Llewellyn 1983 |  |  | Antheraxanthin | 2350 | 0.00011915 | 0 | 446 | ethanol
| and Jeffrey et al. 1997 |  | Aphanizophyll |  | 0.00016859 | 0
|  |  | Astaxanthin | 2100 | 0.00010888 | 0 | 468 | hexane
|  |  | Bacteriochlorophyll a | 594 | 0.0094392 | 0 | 771 | acetone/methanol |  |  | Oelze 1985
Red coefficients were determined from standards |  |  | Canthaxanthin | 2200 | 0.00010393 | 0 | 466 | pet ether
All others were estimated using LC 10AD coefficients |  | Jul 23 | Chlorophyll a | 876.7 | 0.0003677 | 0 | 664.3 | 90%acetone | 1.3472 | 0.40415
|  | Dec 21 | Chlorophyll b | 513.6 | 0.00045591 | 0 | 646.8 | 90%acetone | 1.7054 | 0.51161
|  |  | Chlorophyll c1c2 | 426 | 7.4207e-05 | 0 | 630.7 | 90%acetone | Estimated | Estimated | Estimated
|  |  | Chlorophyll c3 | 3460 | 0.00014362 | 0 | 452.9 | 90%acetone | 0.48771 | 0.14631
|  |  | Chlorophyllide a | 1270 | 0.00018166 | 0 | 664 | 90%acetone
|  |  | Chlorophyllide b | 740.7 | 0.000296 | 0 | 645 | 90%acetone
|  |  | Crocoxanthin | 2500 | 8.1206e-05 | 0 | 443 | ethanol
|  |  | Diadinochrome | 2500 | 7.6501e-05 | 0 | 428 | acetone
|  |  | Diadinoxanthin | 2250 | 9.1104e-05 | 0 | 444.5 | methanol | 0.37673 | 0.11302
|  |  | Diatoxanthin | 2100 | 0.00012482 | 0 | 452 | acetone | 0.47555 | 0.14266
|  |  | Dinoxanthin | 2100 | 9.6674e-05 | 0 | 442 | acetone
|  |  | Divinyl Chlorophyll a | 876.7 | 0.00040626 | 0 | 664.3 | 90%acetone | 0.94742 | 0.28423 | Assume equal to Chla
|  |  | Divinyl Chlorophyll b | 513.6 | 0.00042689 | 0 | 646.8 | 90%acetone |  |  | Assume equal to Chlb
|  |  | Echinenone | 2158 | 0.00024321 | 0 | 458 | pet ether
|  | Dec 21 | Fucoxanthin | 1660 | 0.00012096 | 0 | 443 | acetone | 0.56342 | 0.16903
|  |  | Gyroxanthin-diester | 2620 | 0.00017865 | 0 | 445 | ethanol | 0.37706 | 0.11312
|  |  | Lutein | 2550 | 0.00016679 | 0 | 445 | ethanol | 0.36284 | 0.10885
|  |  | Lycopene | 3446 | 0.00056603 | 0 | 474 | acetone
|  |  | Mg DVP | 589 | 0.00037224 | 0 | 623 | methanol
|  |  | Monadoxanthin | 2500 | 9.7068e-05 | 0 | 446 | diethyl ether
|  |  | Myxoxanthophyll | 2160 | 0.00017631 | 0 | 478 | acetone | 1.0391 | 0.31172 | Hirschberg & Chamovitz 1994
|  |  | Neoxanthin | 2270 | 0.00015528 | 0 | 438 | ethanol | 0.31586 | 0.094758
|  |  | P-457 | 1640 | 0.0011893 | 0 | 457 | acetone
|  | Dec 21 | Peridinin | 1340 | 0.00017348 | 0 | 466 | acetone | 0.53469 | 0.16041
|  |  | Pheophorbide a | 742 | 0.00045341 | 0 | 667 | 90%acetone
|  |  | Pheophorbide b | 463.7 | 0.00047283 | 0 | 657 | 90%acetone
|  |  | Pheophytin a | 512 | 0.00065709 | 0 | 667 | 90%acetone
|  |  | Pheophytin b | 318 | 0.00068946 | 0 | 657 | 90%acetone
|  |  | Prasinoxanthin | 2500 | 0.00021476 | 0 | 446 | diethyl ether
|  |  | Pyropheophytin a | 602.9 | 0.00055802 | 0 | 667 | diethyl ether
|  |  | Siphonaxanthin | 2500 | 7.6501e-05 | 0 | 445 | acetone
|  |  | Siphonein | 1920 | 0.0010159 | 0 | 462 | ethanol
|  |  | Vaucheriaxanthin | 2500 | 9.7068e-05 | 0 | 444 | acetone
|  |  | Violaxanthin | 2400 | 0.00012073 | 0 | 442 | acetone | 0.43702 | 0.1311
|  | Dec 21 | Zeaxanthin | 2340 | 8.5608e-05 | 0 | 452 | acetone | 0.47691 | 0.14307

## Internal Standard
Internal Standard Calculation Sheet
| HPLC | Acetone | Carotenal | Total Extract | Volume of
| Injection | Volume | Volume | Volume | IP
| Volume | Added | Added | added to Vial | added to Vial
| (µL) | (µL) | (µL) | (µL) | (µL)
| 200 | 750 | 100 | 350 | 88
Estimated Peak Area for Carotenal Standard Added |  |  |  | 88087.5638
Note on D5: J Pinckney: Volume of 90% acetone used for the extraction…amount added to the tube and filter

## Peak Areas
Sample ID:
PEAK AREAS
[5 empty] | Sample | HPLC | Acetone + Carotenal | Extract | Ammonium
[5 empty] | Filtered | Injection | Added | Volume | Acetate
|  |  |  | Special | Volume | Volume | Volume | in Vial | Ratio
Number | Date | Station | Other | Notes | (Liters) | (µL) | (ml) | (µL) |  | Chl-ide a | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Carotenal | Chl b | Chla Allomer | Chl a | Chla prime | βε Carotene | ββ Carotene | Crocoxanthin
Blank Line
T0 A |  |  |  |  | 0.1 | 200 | 0.85 | 400 | 1.25 | 0 | 58801 | 251340 | 9693 | 0 | 715283 | 0 | 8594 | 11548 | 17591 | 128563 | 24258 | 27995 | 10735 | 4061 | 54008 | 3804 | 74103 | 16938 | 12105 | 508333 | 20413 | 8229 | 64493 | 6417
T0 B |  |  |  |  | 0.1 | 200 | 0.85 | 400 | 1.25 | 0 | 45679 | 249368 | 10035 | 0 | 698419 | 0 | 9435 | 11948 | 0 | 124167 | 25733 | 30185 | 9787 | 3409 | 55459 | 4337 | 74014 | 16875 | 14144 | 494185 | 19274 | 8191 | 61994 | 0
T0 C |  |  |  |  | 0.1 | 200 | 0.85 | 400 | 1.25 | 0 | 7425 | 260692 | 10108 | 0 | 756289 | 0 | 9102 | 13681 | 16972 | 120240 | 27184 | 27574 | 9354 | 4086 | 62283 | 4180 | 71725 | 16981 | 18714 | 486386 | 20143 | 10595 | 64776 | 2577
T0 D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 8931 | 267684 | 10461 | 0 | 816941 | 0 | 8843 | 0 | 18361 | 132236 | 30227 | 32026 | 10766 | 4937 | 67892 | 5156 | 76926 | 18452 | 17885 | 538827 | 24233 | 9230 | 65586 | 3363
T0 E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 12725 | 240737 | 9791 | 0 | 783932 | 0 | 8722 | 0 | 17910 | 127085 | 22248 | 28144 | 9497 | 3866 | 60032 | 4643 | 74371 | 16843 | 13451 | 502512 | 23166 | 11852 | 65394 | 4808
Control A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 5132 | 134784 | 707 | 0 | 515063 | 0 | 21636 | 8146 | 9595 | 150855 | 17585 | 19248 | 22167 | 3277 | 43652 | 2960 | 73017 | 7003 | 5213 | 292774 | 16069 | 9251 | 35907 | 0
Control B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 4224 | 117192 | 0 | 0 | 436992 | 0 | 27051 | 6600 | 8636 | 124547 | 15773 | 18647 | 14506 | 4067 | 45632 | 2432 | 76197 | 6417 | 6690 | 238303 | 12527 | 0 | 18841 | 0
Control C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 9858 | 117585 | 0 | 0 | 438651 | 0 | 29334 | 6676 | 9251 | 124115 | 16965 | 17935 | 11946 | 3868 | 43554 | 2033 | 77860 | 6358 | 6581 | 246323 | 14230 | 0 | 27039 | 0
Control D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 12847 | 124893 | 0 | 0 | 482908 | 0 | 30369 | 6253 | 8460 | 171082 | 6911 | 19516 | 21284 | 3959 | 46359 | 2000 | 75938 | 5387 | 6693 | 267180 | 16180 | 0 | 28293 | 0
Control E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 24074 | 119402 | 0 | 0 | 437860 | 0 | 29061 | 0 | 6436 | 129231 | 16300 | 17853 | 11679 | 3285 | 49350 | 1741 | 76669 | 4076 | 6211 | 243065 | 16168 | 0 | 27896 | 0
DIN A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 239828 | 942632 | 2585 | 0 | 2651549 | 0 | 0 | 0 | 24185 | 568679 | 21821 | 35134 | 120158 | 6513 | 100451 | 0 | 76209 | 10860 | 22505 | 1542805 | 88153 | 3989 | 159188 | 7272
DIN B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 90581 | 1167464 | 4989 | 0 | 3108497 | 0 | 0 | 0 | 24611 | 460905 | 10909 | 32887 | 52184 | 7022 | 89938 | 0 | 79063 | 11820 | 28811 | 1747289 | 97721 | 2427 | 165258 | 11977
DIN C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 76028 | 1084686 | 3299 | 0 | 3158776 | 0 | 0 | 0 | 27829 | 643636 | 7932 | 40104 | 123138 | 7960 | 89711 | 0 | 77752 | 14042 | 28235 | 1794986 | 108096 | 3425 | 179078 | 9497
DIN D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 52414 | 1004221 | 3522 | 0 | 2946359 | 0 | 0 | 0 | 28580 | 662604 | 12096 | 35537 | 136180 | 7212 | 107164 | 9031 | 78356 | 12936 | 25998 | 1728864 | 103975 | 4818 | 187368 | 8835
DIN E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 0 | 1218103 | 5311 | 0 | 3264932 | 0 | 5392 | 0 | 28752 | 547470 | 6752 | 35951 | 59482 | 6970 | 94735 | 0 | 78263 | 12435 | 33382 | 1916755 | 116311 | 8440 | 197040 | 9183
LP A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 14371 | 361013 | 1120 | 0 | 1103758 | 0 | 20509 | 19870 | 21045 | 231195 | 34869 | 32872 | 32882 | 6883 | 90704 | 4530 | 80599 | 12384 | 11987 | 651332 | 40546 | 6036 | 77259 | 4475
LP B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 47528 | 249343 | 492 | 0 | 784787 | 0 | 24870 | 10815 | 14434 | 212021 | 28109 | 25946 | 27208 | 5779 | 93085 | 3535 | 75850 | 9210 | 5896 | 419544 | 27698 | 0 | 42349 | 1798
LP C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 13976 | 186016 | 0 | 0 | 666229 | 0 | 28608 | 9953 | 13252 | 185040 | 23483 | 24894 | 34005 | 4655 | 77749 | 3773 | 77178 | 7332 | 4295 | 364395 | 25517 | 0 | 35029 | 1492
LP D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 10276 | 209993 | 444 | 0 | 701347 | 0 | 41706 | 9663 | 12951 | 191055 | 26182 | 26712 | 28177 | 5421 | 90377 | 4066 | 77483 | 9238 | 5920 | 394690 | 27572 | 0 | 36839 | 1705
LP E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 8692 | 175915 | 0 | 0 | 602435 | 0 | 34803 | 7292 | 10299 | 166290 | 21933 | 20662 | 29403 | 2254 | 69888 | 3182 | 76311 | 5501 | 1778 | 327786 | 24082 | 0 | 31862 | 1363
HP A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 11248 | 180441 | 348 | 0 | 608658 | 0 | 40073 | 10350 | 14550 | 180158 | 24033 | 23272 | 24931 | 5379 | 73842 | 3744 | 75356 | 7586 | 3802 | 341108 | 24943 | 0 | 33859 | 1614
HP B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 10604 | 188396 | 440 | 0 | 599575 | 0 | 23158 | 9122 | 12254 | 165209 | 21503 | 20640 | 13098 | 3374 | 64101 | 3840 | 72453 | 5531 | 5673 | 327706 | 23951 | 0 | 28772 | 0
HP C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 46916 | 195350 | 0 | 0 | 659957 | 0 | 39575 | 9729 | 13603 | 175676 | 24929 | 23277 | 32431 | 4450 | 74821 | 2957 | 76566 | 7277 | 4325 | 351349 | 26791 | 0 | 28999 | 1587
HP D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 9509 | 167106 | 0 | 0 | 655164 | 0 | 37803 | 7427 | 12802 | 206845 | 22508 | 21250 | 23259 | 2383 | 64698 | 2432 | 67641 | 5896 | 8840 | 355183 | 26867 | 0 | 33663 | 1526
HP E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 0 | 35682 | 161047 | 0 | 0 | 558957 | 0 | 34795 | 7111 | 12385 | 180759 | 20636 | 19376 | 22868 | 2179 | 60267 | 2850 | 76140 | 5425 | 5756 | 298664 | 23970 | 0 | 29129 | 0
DIN+LP A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 78023 | 70934 | 868442 | 2332 | 0 | 2052085 | 0 | 0 | 0 | 19118 | 380747 | 9883 | 34094 | 66050 | 3425 | 79200 | 0 | 79206 | 10521 | 35091 | 1101423 | 79098 | 1318 | 106776 | 4711
DIN+LP B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 115820 | 0 | 1112543 | 6984 | 0 | 2795492 | 0 | 0 | 0 | 25146 | 542192 | 12996 | 38728 | 235055 | 6764 | 108327 | 4392 | 74736 | 11997 | 19971 | 1470007 | 109088 | 5393 | 161808 | 12235
DIN+LP C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 66584 | 61880 | 1062818 | 1887 | 0 | 2907225 | 0 | 0 | 0 | 29216 | 630536 | 13498 | 44465 | 181713 | 7140 | 97707 | 11721 | 80937 | 11911 | 24643 | 1504357 | 118982 | 5251 | 163894 | 7629
DIN+LP D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 92020 | 0 | 995061 | 5638 | 0 | 2337062 | 0 | 0 | 0 | 26287 | 467231 | 12086 | 37357 | 97524 | 6653 | 94218 | 0 | 79220 | 13446 | 37819 | 1200211 | 90271 | 7651 | 109232 | 5818
DIN+LP E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 109000 | 0 | 1011588 | 2134 | 0 | 2635364 | 0 | 0 | 0 | 24888 | 598940 | 14105 | 43246 | 204049 | 6842 | 96095 | 4761 | 80537 | 10466 | 19473 | 1362173 | 107391 | 5875 | 150740 | 7008
DIN+HP A |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 111934 | 0 | 970954 | 6497 | 0 | 2593156 | 0 | 0 | 0 | 22096 | 501412 | 9871 | 39492 | 165536 | 6537 | 82796 | 10312 | 83443 | 9933 | 19748 | 1352855 | 110228 | 5333 | 147396 | 5430
DIN+HP B |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 103705 | 255387 | 1016713 | 2412 | 0 | 2363779 | 0 | 0 | 0 | 0 | 413181 | 12778 | 40358 | 82616 | 6434 | 90749 | 0 | 80928 | 10963 | 37839 | 1211797 | 97928 | 5937 | 125734 | 5811
DIN+HP C |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 109676 | 263972 | 999323 | 2292 | 0 | 2326894 | 0 | 0 | 0 | 20587 | 453927 | 12991 | 38338 | 69559 | 4391 | 89856 | 0 | 78113 | 12723 | 32664 | 1164511 | 92106 | 0 | 104298 | 12091
DIN+HP D |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 104225 | 0 | 1061852 | 5140 | 0 | 2749234 | 0 | 0 | 0 | 26712 | 610699 | 14185 | 42892 | 195008 | 8138 | 99663 | 4579 | 75586 | 13060 | 21761 | 1367144 | 111262 | 4380 | 149876 | 12388
DIN+HP E |  |  |  |  | 0.1 | 200 | 0.85 | 350 | 1.25 | 89529 | 40078 | 1127723 | 7284 | 0 | 2901006 | 0 | 0 | 0 | 24356 | 542184 | 14103 | 43929 | 198480 | 7884 | 96810 | 11331 | 78393 | 11730 | 22631 | 1547408 | 126195 | 5388 | 172130 | 7622
Note on F6: The total volume of water filtered through the filter(s) in the microfuge tube
Note on H6: Volume of acetone added to the microfuge tube for extraction + volume of carotenal added
Note on I6: Volume of extract placed in the HPLC sample vial
Note on J9: Acetone + AmAc (ml) / Acetone (ml)

## ug_liter
HPLC PHOTOPIGMENT ANALYSIS FACILITY
BARUCH INSTITUTE FOR MARINE AND COASTAL SCIENCES
UNIVERSITY OF SOUTH CAROLINA | [8 empty] | Protocols and Methods Link
COLUMBIA, SC 29208 USA | [8 empty] | Technical Description of Methods Link
PINCKNEY@SC.EDU |  | (803) 777.7133
| Sample ID: | 0
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
0 Concentrations Indicate "Below Limits of Detection"
[5 empty] | Sample | Volume | Internal Std
Number | Date | Station | Other | Notes | Volume (L) | Constants | Constant | Chl c3 | Chl c1c2 | Perid | 19'ButFuc | Fuco | 19'HexFuc | Neo | Prasino | Viola | Diad | Anther | Allox | Diat | Lutein | Zeax | Gyro | Chl b | Chla Allomer | Chl a | Chla prime | α Carotene | β Carotene | Chl-ide a | Total Chl a | ALL Chl a
T0 A | 0 | 0 | 0 | 0 | 0.1 | 0.07058 | 1.1887 | 0.59606 | 1.3164 | 0.11869 | 0 | 6.1067 | 0 | 0.094186 | 0.17504 | 0.1499 | 0.82668 | 0.20401 | 0.15397 | 0.094576 | 0.047807 | 0.32633 | 0.047965 | 0.54503 | 0.31415 | 13.1924 | 0.52976 | 0.12657 | 1.0714 | 0 | 13.1924 | 14.0363
T0 B | 0 | 0 | 0 | 0 | 0.1 | 0.070665 | 1.1901 | 0.4636 | 1.3077 | 0.12302 | 0 | 5.9699 | 0 | 0.10353 | 0.18132 | 0 | 0.79937 | 0.21667 | 0.16621 | 0.086328 | 0.04018 | 0.3355 | 0.054751 | 0.54366 | 0.36751 | 12.8407 | 0.50081 | 0.12614 | 1.0311 | 0 | 12.8407 | 13.709
T0 C | 0 | 0 | 0 | 0 | 0.1 | 0.07292 | 1.2281 | 0.077762 | 1.4107 | 0.12787 | 0 | 6.6708 | 0 | 0.10306 | 0.21425 | 0.14942 | 0.79879 | 0.23619 | 0.15668 | 0.085142 | 0.049696 | 0.3888 | 0.054453 | 0.56453 | 0.50177 | 13.0413 | 0.54009 | 0.16836 | 1.1117 | 0 | 13.0413 | 14.0832
T0 D | 0 | 0 | 0 | 0 | 0.1 | 0.06799 | 1.1451 | 0.08721 | 1.3506 | 0.12339 | 0 | 6.7186 | 0 | 0.093358 | 0 | 0.15072 | 0.81909 | 0.24488 | 0.16967 | 0.091369 | 0.055986 | 0.39516 | 0.062626 | 0.57196 | 0.44712 | 13.4706 | 0.60582 | 0.13676 | 1.0495 | 0 | 13.4706 | 14.5236
T0 E | 0 | 0 | 0 | 0 | 0.1 | 0.070326 | 1.1844 | 0.12853 | 1.2563 | 0.11945 | 0 | 6.6687 | 0 | 0.095244 | 0 | 0.15206 | 0.81423 | 0.18643 | 0.15423 | 0.083368 | 0.045347 | 0.36142 | 0.058333 | 0.54002 | 0.34783 | 12.9944 | 0.59904 | 0.18164 | 1.0824 | 0 | 12.9944 | 13.9412
Control A | 0 | 0 | 0 | 0 | 0.1 | 0.07163 | 1.2064 | 0.052796 | 0.71644 | 0.0087856 | 0 | 4.4627 | 0 | 0.24065 | 0.12531 | 0.082977 | 0.98444 | 0.15009 | 0.10743 | 0.1982 | 0.039151 | 0.26768 | 0.037878 | 0.2287 | 0.1373 | 7.7112 | 0.42323 | 0.14441 | 0.60536 | 0 | 7.7112 | 8.2717
Control B | 0 | 0 | 0 | 0 | 0.1 | 0.06864 | 1.1561 | 0.041642 | 0.59693 | 0 | 0 | 3.6283 | 0 | 0.28832 | 0.097292 | 0.071567 | 0.77884 | 0.129 | 0.099736 | 0.12429 | 0.046562 | 0.26814 | 0.029822 | 0.20081 | 0.16885 | 6.0146 | 0.31617 | 0 | 0.30438 | 0 | 6.0146 | 6.4996
Control C | 0 | 0 | 0 | 0 | 0.1 | 0.067174 | 1.1314 | 0.095108 | 0.58614 | 0 | 0 | 3.5643 | 0 | 0.30597 | 0.09631 | 0.075026 | 0.75957 | 0.13579 | 0.093879 | 0.10017 | 0.043338 | 0.25046 | 0.024397 | 0.19472 | 0.16255 | 6.0842 | 0.35148 | 0 | 0.4275 | 0 | 6.0842 | 6.5982
Control D | 0 | 0 | 0 | 0 | 0.1 | 0.068875 | 1.16 | 0.12708 | 0.63833 | 0 | 0 | 4.0232 | 0 | 0.32479 | 0.092491 | 0.070347 | 1.0735 | 0.056716 | 0.10474 | 0.18298 | 0.04548 | 0.27334 | 0.024609 | 0.16916 | 0.1695 | 6.7664 | 0.40976 | 0 | 0.45864 | 0 | 6.7664 | 7.3456
Control E | 0 | 0 | 0 | 0 | 0.1 | 0.068218 | 1.1489 | 0.23587 | 0.60445 | 0 | 0 | 3.6131 | 0 | 0.30783 | 0 | 0.053007 | 0.80316 | 0.13249 | 0.094901 | 0.099449 | 0.037377 | 0.2882 | 0.021218 | 0.12677 | 0.1558 | 6.097 | 0.40555 | 0 | 0.4479 | 0 | 6.097 | 6.6583
DIN A | 0 | 0 | 0 | 0 | 0.1 | 0.06863 | 1.1559 | 2.3639 | 4.8007 | 0.030777 | 0 | 22.0119 | 0 | 0 | 0 | 0.20039 | 3.5556 | 0.17844 | 0.18789 | 1.0293 | 0.074553 | 0.59017 | 0 | 0.3398 | 0.56792 | 38.9329 | 2.2246 | 0.059659 | 2.5713 | 0 | 38.9329 | 41.7254
DIN B | 0 | 0 | 0 | 0 | 0.1 | 0.066152 | 1.1141 | 0.86061 | 5.7311 | 0.057256 | 0 | 24.8737 | 0 | 0 | 0 | 0.19656 | 2.7778 | 0.085987 | 0.16952 | 0.4309 | 0.077478 | 0.50933 | 0 | 0.35649 | 0.7008 | 42.5014 | 2.377 | 0.034988 | 2.573 | 0 | 42.5014 | 45.5792
DIN C | 0 | 0 | 0 | 0 | 0.1 | 0.067268 | 1.1329 | 0.73452 | 5.4145 | 0.038499 | 0 | 25.7022 | 0 | 0 | 0 | 0.22601 | 3.9444 | 0.063576 | 0.21021 | 1.0339 | 0.089309 | 0.51661 | 0 | 0.43064 | 0.69837 | 44.3978 | 2.6737 | 0.050208 | 2.8352 | 0 | 44.3978 | 47.7698
DIN D | 0 | 0 | 0 | 0 | 0.1 | 0.066749 | 1.1242 | 0.50248 | 4.9742 | 0.040784 | 0 | 23.789 | 0 | 0 | 0 | 0.23032 | 4.0294 | 0.096204 | 0.18484 | 1.1346 | 0.080293 | 0.61236 | 0.10769 | 0.39366 | 0.63809 | 42.4327 | 2.5519 | 0.070083 | 2.9436 | 0 | 42.4327 | 45.6227
DIN E | 0 | 0 | 0 | 0 | 0.1 | 0.066829 | 1.1255 | 0 | 6.0408 | 0.061574 | 0 | 26.3925 | 0 | 0.055953 | 0 | 0.23198 | 3.3332 | 0.053765 | 0.18721 | 0.49619 | 0.077691 | 0.54198 | 0 | 0.37887 | 0.82029 | 47.1001 | 2.8581 | 0.12292 | 3.0992 | 0 | 47.1001 | 50.7785
LP A | 0 | 0 | 0 | 0 | 0.1 | 0.064892 | 1.0929 | 0.13394 | 1.7384 | 0.012609 | 0 | 8.6638 | 0 | 0.20665 | 0.27691 | 0.16487 | 1.3668 | 0.26961 | 0.16622 | 0.26635 | 0.074497 | 0.50388 | 0.052515 | 0.36638 | 0.28602 | 15.5412 | 0.96745 | 0.085357 | 1.18 | 0 | 15.5412 | 16.7947
LP B | 0 | 0 | 0 | 0 | 0.1 | 0.068955 | 1.1613 | 0.47069 | 1.2759 | 0.0058856 | 0 | 6.5458 | 0 | 0.26628 | 0.16016 | 0.12016 | 1.3319 | 0.23095 | 0.13941 | 0.23418 | 0.066465 | 0.54948 | 0.043546 | 0.28954 | 0.14949 | 10.6374 | 0.70227 | 0 | 0.6873 | 0 | 10.6374 | 11.4891
LP C | 0 | 0 | 0 | 0 | 0.1 | 0.067768 | 1.1414 | 0.13603 | 0.93545 | 0 | 0 | 5.4613 | 0 | 0.30104 | 0.14485 | 0.10842 | 1.1424 | 0.18962 | 0.13146 | 0.28765 | 0.052616 | 0.45106 | 0.045678 | 0.22653 | 0.10702 | 9.0801 | 0.63584 | 0 | 0.55871 | 0 | 9.0801 | 9.823
LP D | 0 | 0 | 0 | 0 | 0.1 | 0.067501 | 1.1369 | 0.099623 | 1.0519 | 0.0051994 | 0 | 5.7265 | 0 | 0.43714 | 0.14008 | 0.10554 | 1.1749 | 0.21058 | 0.1405 | 0.23741 | 0.061033 | 0.52225 | 0.049032 | 0.28429 | 0.14694 | 9.7963 | 0.68434 | 0 | 0.58527 | 0 | 9.7963 | 10.6276
LP E | 0 | 0 | 0 | 0 | 0.1 | 0.068538 | 1.1543 | 0.085561 | 0.89471 | 0 | 0 | 4.9944 | 0 | 0.37039 | 0.10733 | 0.08522 | 1.0383 | 0.17912 | 0.11035 | 0.25155 | 0.025767 | 0.41006 | 0.038961 | 0.17189 | 0.044808 | 8.2607 | 0.6069 | 0 | 0.51397 | 0 | 8.2607 | 8.9124
HP A | 0 | 0 | 0 | 0 | 0.1 | 0.069407 | 1.169 | 0.11212 | 0.92936 | 0.0041902 | 0 | 5.11 | 0 | 0.43188 | 0.15427 | 0.12192 | 1.1392 | 0.19875 | 0.12586 | 0.21599 | 0.06227 | 0.43875 | 0.046423 | 0.24004 | 0.09703 | 8.7053 | 0.63656 | 0 | 0.55311 | 0 | 8.7053 | 9.4389
HP B | 0 | 0 | 0 | 0 | 0.1 | 0.072187 | 1.2158 | 0.10994 | 1.0092 | 0.0055103 | 0 | 5.2354 | 0 | 0.25958 | 0.14142 | 0.1068 | 1.0865 | 0.18495 | 0.1161 | 0.11802 | 0.040624 | 0.39613 | 0.049521 | 0.18203 | 0.15058 | 8.6984 | 0.63574 | 0 | 0.48884 | 0 | 8.6984 | 9.4847
HP C | 0 | 0 | 0 | 0 | 0.1 | 0.06831 | 1.1505 | 0.46028 | 0.99025 | 0 | 0 | 5.4531 | 0 | 0.41977 | 0.14273 | 0.11218 | 1.0933 | 0.2029 | 0.1239 | 0.27653 | 0.050701 | 0.43754 | 0.036086 | 0.22663 | 0.10863 | 8.825 | 0.67292 | 0 | 0.46623 | 0 | 8.825 | 9.6066
HP D | 0 | 0 | 0 | 0 | 0.1 | 0.077323 | 1.3023 | 0.1056 | 0.95884 | 0 | 0 | 6.1278 | 0 | 0.45388 | 0.12333 | 0.11951 | 1.4571 | 0.20737 | 0.12803 | 0.22449 | 0.030733 | 0.42826 | 0.033595 | 0.20785 | 0.25134 | 10.0984 | 0.76387 | 0 | 0.61263 | 0 | 10.0984 | 11.1136
HP E | 0 | 0 | 0 | 0 | 0.1 | 0.068692 | 1.1569 | 0.35203 | 0.82093 | 0 | 0 | 4.6444 | 0 | 0.37113 | 0.1049 | 0.10271 | 1.1312 | 0.1689 | 0.10371 | 0.19608 | 0.024965 | 0.3544 | 0.034974 | 0.1699 | 0.14539 | 7.5437 | 0.60543 | 0 | 0.47094 | 0 | 7.5437 | 8.2945
DIN+LP A | 0 | 0 | 0 | 0 | 0.1 | 0.066033 | 1.1121 | 0.67272 | 4.2555 | 0.026715 | 0 | 16.3908 | 0 | 0 | 0 | 0.15241 | 2.2905 | 0.077759 | 0.17543 | 0.54442 | 0.037722 | 0.44771 | 0 | 0.31674 | 0.85202 | 26.7429 | 1.9205 | 0.018966 | 1.6595 | 0.93595 | 27.6788 | 30.4514
DIN+LP B | 0 | 0 | 0 | 0 | 0.1 | 0.069982 | 1.1786 | 0 | 5.7777 | 0.084791 | 0 | 23.6642 | 0 | 0 | 0 | 0.21246 | 3.4568 | 0.10837 | 0.21119 | 2.0533 | 0.078953 | 0.64899 | 0.05491 | 0.38277 | 0.5139 | 37.827 | 2.8071 | 0.082247 | 2.6652 | 1.4725 | 39.2994 | 42.6204
DIN+LP C | 0 | 0 | 0 | 0 | 0.1 | 0.064621 | 1.0883 | 0.57431 | 5.0966 | 0.021154 | 0 | 22.7245 | 0 | 0 | 0 | 0.22793 | 3.7121 | 0.10393 | 0.2239 | 1.4657 | 0.076956 | 0.54052 | 0.13531 | 0.35091 | 0.58554 | 35.745 | 2.8271 | 0.073946 | 2.4927 | 0.78165 | 36.5267 | 39.9394
DIN+LP D | 0 | 0 | 0 | 0 | 0.1 | 0.066021 | 1.1119 | 0 | 4.8751 | 0.064576 | 0 | 18.6638 | 0 | 0 | 0 | 0.20953 | 2.8103 | 0.095076 | 0.19218 | 0.8037 | 0.073261 | 0.53251 | 0 | 0.40472 | 0.91809 | 29.1363 | 2.1914 | 0.11008 | 1.6973 | 1.1037 | 30.24 | 33.3495
DIN+LP E | 0 | 0 | 0 | 0 | 0.1 | 0.064942 | 1.0938 | 0 | 4.875 | 0.024042 | 0 | 20.7018 | 0 | 0 | 0 | 0.19513 | 3.5436 | 0.10914 | 0.21884 | 1.6541 | 0.074111 | 0.53424 | 0.055236 | 0.30987 | 0.465 | 32.5273 | 2.5644 | 0.083144 | 2.304 | 1.2859 | 33.8133 | 36.8427
DIN+HP A | 0 | 0 | 0 | 0 | 0.1 | 0.06268 | 1.0557 | 0 | 4.5162 | 0.070648 | 0 | 19.6609 | 0 | 0 | 0 | 0.16721 | 2.8633 | 0.073721 | 0.19289 | 1.2951 | 0.068341 | 0.44427 | 0.11547 | 0.28385 | 0.45514 | 31.1798 | 2.5405 | 0.072845 | 2.1745 | 1.2746 | 32.4544 | 35.45
DIN+HP B | 0 | 0 | 0 | 0 | 0.1 | 0.064628 | 1.0885 | 2.3705 | 4.876 | 0.027043 | 0 | 18.4787 | 0 | 0 | 0 | 0 | 2.4327 | 0.098398 | 0.20324 | 0.66647 | 0.069355 | 0.50208 | 0 | 0.32302 | 0.89919 | 28.7967 | 2.3271 | 0.083616 | 1.9125 | 1.2176 | 30.0143 | 33.2406
DIN+HP C | 0 | 0 | 0 | 0 | 0.1 | 0.066957 | 1.1277 | 2.5385 | 4.9653 | 0.026624 | 0 | 18.8459 | 0 | 0 | 0 | 0.16642 | 2.769 | 0.10364 | 0.20003 | 0.58136 | 0.049038 | 0.51506 | 0 | 0.38839 | 0.80419 | 28.6703 | 2.2677 | 0 | 1.6436 | 1.3341 | 30.0044 | 33.0762
DIN+HP D | 0 | 0 | 0 | 0 | 0.1 | 0.069195 | 1.1654 | 0 | 5.4524 | 0.061702 | 0 | 23.0109 | 0 | 0 | 0 | 0.22315 | 3.8498 | 0.11695 | 0.23127 | 1.6843 | 0.093922 | 0.59037 | 0.056604 | 0.412 | 0.55367 | 34.7844 | 2.8309 | 0.066047 | 2.4409 | 1.3101 | 36.0946 | 39.4791
DIN+HP E | 0 | 0 | 0 | 0 | 0.1 | 0.066718 | 1.1237 | 0.38403 | 5.5833 | 0.084308 | 0 | 23.4118 | 0 | 0 | 0 | 0.19618 | 3.2955 | 0.11211 | 0.22838 | 1.6529 | 0.087733 | 0.55293 | 0.13505 | 0.35679 | 0.55519 | 37.9612 | 3.0958 | 0.078338 | 2.7029 | 1.0851 | 39.0463 | 42.6973
Note on L9: (peak area * coeff / inject volume) * (extract volume/ sample volume) = ug/liter
Note on H13: Jay Pinckney: >1 = Dilution (higher acetone volume added or lower volume of carotenal added) <1 = Evaporation (lower acetone volume added or higher volume of carotenal added)
Note on I13: Chlorophyll c3
Note on J13: Chlorophyll c1c2
Note on K13: Peridinin
Note on L13: 19' Butanoyloxyfucoxanthin
Note on M13: Fucoxanthin
Note on N13: 19' Hexanoyloxyfucoxanthin
Note on O13: 9' cis-Neoxanthin
Note on P13: Prasinoxanthin
Note on Q13: Violaxanthin
Note on R13: Diadinoxanthin
Note on S13: Antheraxanthin
Note on T13: Alloxanthin
Note on U13: Diatoxanthin
Note on W13: Zeaxanthin
Note on X13: Gyroxanthin-diester
Note on Y13: Chlorophyll b
Note on Z13: Chlorophyll a Allomer
Note on AA13: Chlorophyll a + Divinyl Chl a
Note on AB13: Chlorophyll a'
Note on AF13: Chlorophyllide a
Note on AG13: Chl a + Divinyl Chl a + Chlide a
Note on AH13: Total Chl a + Chl a isomers

## Detection Limits
Effective Limits of Detection and Quantification
|  | LODeff | Effective Limit of Detection
|  | LOQeff | Effective Limit of Quantification
PIGMENT CONCENTRATIONS
(µg pigment liter-1)
Sample
| Number | Chl c3 |  | Perid |  | 19'ButFuc |  | Fuco |  | 19'HexFuc |  | Neo |  | Viola |  | Diad |  | Allox |  | Diat |  | Lutein |  | Zeax |  | Gyro |  | Chl b |  | Chl a
|  | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff | LODeff | LOQeff
| T0 A | 0.0069498 | 0.023166 | 0.0076194 | 0.025398 | 0.0076622 | 0.025541 | 0.0080287 | 0.026762 | 0.0058913 | 0.019638 | 0.004501 | 0.015003 | 0.0062275 | 0.020758 | 0.0053684 | 0.017895 | 0.0056042 | 0.018681 | 0.0067766 | 0.022589 | 0.0051705 | 0.017235 | 0.0067959 | 0.022653 | 0.0053731 | 0.01791 | 0.024301 | 0.081005 | 0.019197 | 0.063991